{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Кабельный","Спецификация","Рамки"],"not_rendered":{"charts":0,"images":31,"macros":1,"external_links":0,"defined_names":29,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Кабельный","index":0,"n_rows":17,"n_cols":15,"rows_kept":17,"cut":false,"hidden":false,"merged":[[3,12,4,12],[3,3,3,4],[3,5,3,6],[3,7,3,8],[0,3,0,5],[1,6,1,10],[0,6,0,10],[3,9,4,9],[3,10,3,11],[0,0,0,1],[1,0,1,1],[1,3,1,5],[16,1,16,6],[3,1,4,1],[15,1,15,4],[3,2,4,2],[14,1,14,4],[13,1,13,4]]}
["Объект",null,"Название чертежа","Примечание",null,null,"Шифр"]
["Система охранно-тревожной сигнализации",null,"Кабельный журнал",null,null,null,"ТМХ-2025-Р-СОТС-00.КЖ"]
[]
[null,"Поз.","Обозначение \nкабеля, провода","Трасса",null,"Кабель, провод по проекту",null,"Способы прокладки",null,"Итого по проекту","Кабель, провод по факту",null,"Итого по факту"]
[null,null,null,"Начало","Конец","Марка","Кол-во и \nсеч. жил","Открыто","Скрыто",null,"Марка","Кол-во и \nсеч. жил"]
[null,{"$f":"IF(F6=\"\",\"\",SUBTOTAL(9,$O$5:$O6))","v":1},"АЛС1","IZ1.01","АМ1..196","КПСППнг(А)-HF","1x2x0,5",1495,0,{"$f":"IF(SUM(H6:I6)=0,\"\",SUM(H6:I6))","v":1495},null,null,null,null,{"$f":"IF(F6=\"\",\"\",1)","v":1}]
[null,{"$f":"IF(F7=\"\",\"\",SUBTOTAL(9,$O$5:$O7))","v":2},"АЛС2","IZ2.01","AM2.216","КПСППнг(А)-HF","1x2x0,5",2160,0,{"$f":"IF(SUM(H7:I7)=0,\"\",SUM(H7:I7))","v":2160},null,null,null,null,1]
[null,{"$f":"IF(F8=\"\",\"\",SUBTOTAL(9,$O$5:$O8))","v":3},"АЛС3","IZ3.01","AM3.205","КПСППнг(А)-HF","1x2x0,5",1740,0,{"$f":"IF(SUM(H8:I8)=0,\"\",SUM(H8:I8))","v":1740},null,null,null,null,{"$f":"IF(F8=\"\",\"\",1)","v":1}]
[null,{"$f":"IF(F9=\"\",\"\",SUBTOTAL(9,$O$5:$O9))","v":4},"АЛС4","IZ4.01","AM4.160","КПСППнг(А)-HF","1x2x0,5",1265,0,{"$f":"IF(SUM(H9:I9)=0,\"\",SUM(H9:I9))","v":1265},null,null,null,null,{"$f":"IF(F9=\"\",\"\",1)","v":1}]
[null,{"$f":"IF(F10=\"\",\"\",SUBTOTAL(9,$O$5:$O10))","v":5},"R3-Link","ARK1","ARK2","СегментКИ-485-Энг(А)-HF","2x2x0,60",2,0,{"$f":"IF(SUM(H10:I10)=0,\"\",SUM(H10:I10))","v":2},null,null,null,null,{"$f":"IF(F10=\"\",\"\",1)","v":1}]
[null,{"$f":"IF(F11=\"\",\"\",SUBTOTAL(9,$O$5:$O11))","v":6},"R3-Link","ARK2","ARK (сущ.)","СегментКИ-485-Энг(А)-HF","2x2x0,60",2,0,{"$f":"IF(SUM(H11:I11)=0,\"\",SUM(H11:I11))","v":2},null,null,null,null,{"$f":"IF(F11=\"\",\"\",1)","v":1}]
[null,{"$f":"IF(F12=\"\",\"\",SUBTOTAL(9,$O$5:$O12))","v":7},"Линия питания 12 В","UG1","ARK1","КПСППнг(А)-HF","1x2x1,0",1,0,1,null,null,null,null,1]
[null,{"$f":"IF(F13=\"\",\"\",SUBTOTAL(9,$O$5:$O13))","v":8},"Линия питания 12 В","ARK1","ARK2","КПСППнг(А)-HF","1x2x1,0",1,0,{"$f":"IF(SUM(H13:I13)=0,\"\",SUM(H13:I13))","v":1},null,null,null,null,{"$f":"IF(F13=\"\",\"\",1)","v":1}]
[null,"Итого по кабелю:",null,null,null,"СегментКИ-485-Энг(А)-HF","2x2x0,60",{"$f":"SUMIFS(H$6:H$13,$G$6:$G$13,$G14,$F$6:$F$13,$F14)","v":4},{"$f":"SUMIFS(I$8:I$8,$G$8:$G$8,$G14,$F$8:$F$8,$F14)","v":0},{"$f":"SUM(H14:I14)","v":4}]
[null,"Итого по кабелю:",null,null,null,"КПСППнг(А)-HF","1x2x1,0",{"$f":"SUMIFS(H$6:H$13,$G$6:$G$13,$G15,$F$6:$F$13,$F15)","v":2},{"$f":"SUMIFS(I$8:I$8,$G$8:$G$8,$G15,$F$8:$F$8,$F15)","v":0},{"$f":"SUM(H15:I15)","v":2}]
[null,"Итого по кабелю:",null,null,null,"КПСППнг(А)-HF","1x2x0,5",{"$f":"SUMIFS(H$6:H$13,$G$6:$G$13,$G16,$F$6:$F$13,$F16)","v":6660},{"$f":"SUMIFS(I$8:I$8,$G$8:$G$8,$G16,$F$8:$F$8,$F16)","v":0},{"$f":"SUM(H16:I16)","v":6660}]
[null,"Итого:",null,null,null,null,null,{"$f":"SUM(H14:H16)","v":6666},{"$f":"SUM(I16:I16)","v":0},{"$f":"SUM(H17:I17)","v":6666}]

{"sheet":"Спецификация","index":1,"n_rows":25,"n_cols":15,"rows_kept":25,"cut":false,"hidden":false,"merged":[[1,3,1,5],[1,6,1,8],[0,3,0,5],[0,6,0,8],[0,0,0,1],[1,0,1,1]]}
["Объект",null,"Название чертежа","Примечание",null,null,"Шифр"]
["Система охранно-тревожной сигнализации",null,"Спецификация оборудования, изделий и материалов.",null,null,null,"ТМХ-2025-Р-СОТС-00.СО"]
[]
[null,"Поз.","Наименование и техническая характеристика","Тип, марка, \nобозначение \nдокумента, \nопросного листа","Код оборудования, изделия, материала","Завод-изготовитель","Ед. измерения","Кол.","Масса \n1 ед., \nкг","Примечание",null,null,null,"rev.2","rev.1"]
[null,null,"Основное оборудование",null,null,null,null,null,null,null,null,{"$f":"IF(H5=\"\",\"\",1)","v":""}]
[null,{"$f":"IF(G6=\"\",\"\",SUBTOTAL(9,$L$5:$L6))","v":1},"Прибор приёмно-контрольный охранно-пожарный","R3-Рубеж-2ОП","RBZ-319538","Рубеж","шт.",2,null,null,null,{"$f":"IF(G6=\"\",\"\",1)","v":1}]
[null,{"$f":"IF(G7=\"\",\"\",SUBTOTAL(9,$L$5:$L7))","v":2},"Источник вторичного электропитания резервный","ИВЭПР 12/5 RS-R3 2x40 БР ","RBZ-246268","Рубеж","шт.",1,null,null,null,{"$f":"IF(G7=\"\",\"\",1)","v":1}]
[null,{"$f":"IF(G8=\"\",\"\",SUBTOTAL(9,$L$5:$L8))","v":3},"Аккумуляторная батарея","Delta DT 1240",null,"Delta","шт.",2,null,null,null,{"$f":"IF(G8=\"\",\"\",1)","v":1}]
[null,{"$f":"IF(G9=\"\",\"\",SUBTOTAL(9,$L$5:$L9))","v":4},"Извещатель охранный объемный оптико-электронный адресный","ИО 40920-2",null,"Рубеж","шт.",398,null,null,null,{"$f":"IF(G9=\"\",\"\",1)","v":1},null,{"$f":"H9","v":398},4]
[null,{"$f":"IF(G10=\"\",\"\",SUBTOTAL(9,$L$5:$L10))","v":5},"Кронштейн для оптико-электронный адресных датчиков","SMB-10",null,"ALARMICO","шт.",{"$f":"H9","v":398},null,null,null,{"$f":"IF(G10=\"\",\"\",1)","v":1},null,{"$f":"H10","v":398},10]
[null,{"$f":"IF(G11=\"\",\"\",SUBTOTAL(9,$L$5:$L11))","v":6},"Извещатель охранный точечный магнитоуправляемый","ИО 102-6",null,"Магнито-Контакт","шт.",478,null,null,null,{"$f":"IF(G11=\"\",\"\",1)","v":1},null,478,4]
[null,{"$f":"IF(G12=\"\",\"\",SUBTOTAL(9,$L$5:$L12))","v":7},"Адресная метка","АМ-1",null,"Рубеж","шт.",403,null,null,null,{"$f":"IF(G12=\"\",\"\",1)","v":1}]
[null,{"$f":"IF(G13=\"\",\"\",SUBTOTAL(9,$L$5:$L13))","v":8},"Коробка коммутационная","КС-4",null,"КомплектСтройСервис","шт.",403,null,null,null,1,null,403,6]
[null,{"$f":"IF(G14=\"\",\"\",SUBTOTAL(9,$L$5:$L14))","v":9},"Изолятор шлейфа","ИЗ-2О-R3",null,"Рубеж","шт.",22,null,null,null,1,null,22,6]
[null,{"$f":"IF(G15=\"\",\"\",SUBTOTAL(9,$L$5:$L15))","v":10},"Кнопка тревожная","KT-R3",null,"Рубеж","шт.",7,null,null,null,{"$f":"IF(G15=\"\",\"\",1)","v":1}]
[null,{"$f":"IF(G16=\"\",\"\",SUBTOTAL(9,$L$5:$L16))","v":""},"Кабельная продукция и монтажные материалы",null,null,null,null,null,null,null,null,"",null,0,0]
[null,{"$f":"IF(G17=\"\",\"\",SUBTOTAL(9,$L$5:$L17))","v":11},"Кабель симметричный, для систем сигнализации и оповещения.","КПСППнг(А)-HF 1×2х0,5",null,"СегментЭнерго","м",{"$f":"Кабельный!J16","v":6660},null,null,null,{"$f":"IF(G17=\"\",\"\",1)","v":1},null,{"$f":"H17","v":6660},720]
[null,{"$f":"IF(G18=\"\",\"\",SUBTOTAL(9,$L$5:$L18))","v":12},"Кабель симметричный, для систем сигнализации и оповещения.","КПСППнг(А)-HF 1×2х1,0",null,"СегментЭнерго","м",{"$f":"Кабельный!J15","v":2},null,null,null,{"$f":"IF(G18=\"\",\"\",1)","v":1}]
[null,{"$f":"IF(G19=\"\",\"\",SUBTOTAL(9,$L$5:$L19))","v":13},"Кабели симметричные, для промышленного интерфейса.","СегментКИ-485-Энг(А)-HF 2x2x0,60",null,"СегментЭнерго","м",{"$f":"Кабельный!J14","v":4},null,null,null,{"$f":"IF(G19=\"\",\"\",1)","v":1}]
[null,{"$f":"IF(G20=\"\",\"\",SUBTOTAL(9,$L$5:$L20))","v":14},"Кабель-канал белый 2-й замок в п/э 40х25 мм","PR.0540251",null,"Промрукав","м",{"$f":"SUM(H18:H19)","v":6},null,null,null,1]
[null,{"$f":"IF(G21=\"\",\"\",SUBTOTAL(9,$L$5:$L21))","v":15},"Труба ПВХ строительная серая D=20","PR.032000",null,"Промрукав","м",{"$f":"SUM(H17)","v":6660},null,null,null,1]
[null,{"$f":"IF(G22=\"\",\"\",SUBTOTAL(9,$L$5:$L22))","v":16},"Крепеж-клипса с дюбелем серая D=20 (100 шт)","PR13.0296",null,"Промрукав","уп.",139,null,null,null,1]
[null,{"$f":"IF(G23=\"\",\"\",SUBTOTAL(9,$L$5:$L23))","v":17},"Маркер самоламинирующийся, А4, 20х13x33, диам. 7 мм, 80 шт./л","LAN-MCL-20x13x7",null,"Lanmaster","шт.",22,null,null,null,1]
[null,{"$f":"IF(G24=\"\",\"\",SUBTOTAL(9,$L$5:$L24))","v":18},"Огнестойкая полиуретановая двухкомпонентная пена","ИНЗАПЕН-П",null,"АТОМИНОПРОМ","шт.",52,null,null,null,1]
[null,{"$f":"IF(G25=\"\",\"\",SUBTOTAL(9,$L$5:$L25))","v":19},"Труба стальная водогазопроводная, Dу=32","ГОСТ 3262-75",null,"Россия","м",20,null,null,null,1]

{"sheet":"Рамки","index":2,"n_rows":45,"n_cols":22,"rows_kept":45,"cut":false,"hidden":false,"merged":[[10,6,20,7],[41,19,42,19],[43,19,44,19],[31,2,31,3],[31,4,31,5],[32,2,38,3],[32,4,38,5],[39,2,44,3],[39,4,44,5],[41,15,44,18],[42,9,43,9],[42,10,43,10],[42,11,43,11],[42,12,43,12],[42,13,43,13],[42,14,43,14],[27,1,30,2],[27,3,27,4],[28,3,28,4],[29,3,29,4],[30,3,30,4],[16,16,17,16],[16,17,17,17],[18,15,20,15],[19,9,19,10],[19,11,19,12],[20,9,20,10],[20,11,20,12],[18,9,18,10],[18,11,18,12],[4,1,7,2],[4,3,4,4],[5,3,5,4],[8,2,8,3],[8,4,8,5],[6,3,6,4],[7,3,7,4],[9,2,15,3],[9,4,15,5],[16,2,20,3],[16,4,20,5],[18,16,20,19],[10,15,11,19],[12,15,14,19],[15,9,15,10],[15,11,15,12],[15,15,17,15],[15,18,15,19],[16,18,17,19],[16,9,16,10],[16,11,16,12],[17,9,17,10],[17,11,17,12]]}
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"<-Если нужна верхняя нумеряция, то введите сюда номер первой страници"]
[]
[]
[null,"Согласовано:"]
[]
[]
[]
[null,null,"Взам. инв. №"]
[null,null,"Подп. и дата"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"ТМХ-2025-Р-СОТС-00.СО"]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Бизнес-центр ТМХ на территории ОЭЗ \"Технополис \"Москва\"\""]
[]
[null,null,null,null,null,null,null,null,null,"Изм.","Кол.уч.","Лист","№ док.","Подп.","Дата"]
[null,null,null,null,null,null,null,null,null,{"$f":"IF(L16=\"\",\"\",\"Разраб.\")","v":"Разраб."},null,"Поварницин",null,null,"06.25","Система охранно-тревожной сигнализации","Стадия","Лист","Листов"]
[null,null,"Инв. № подл.",null,null,null,null,null,null,{"$f":"IF(L17=\"\",\"\",\"Пров.\")","v":""},null,null,null,null,{"$f":"IF(L17=\"\",\"\",IF($O$16=\"\",\"\",$O$16))","v":""},null,"Р",{"$f":"IF(Листов>1,\"1\",\"\")","v":""},1]
[null,null,null,null,null,null,null,null,null,{"$f":"IF(L18=\"\",\"\",\"Утв.\")","v":""},null,null,null,null,""]
[null,null,null,null,null,null,null,null,null,{"$f":"IF(L19=\"\",\"\",\"ГИП\")","v":"ГИП"},null,"Николич",null,null,"06.25","Спецификация оборудования, изделий и материалов."]
[null,null,null,null,null,null,null,null,null,{"$f":"IF(L20=\"\",\"\",\"ГАП\")","v":"ГАП"},null,"Радойкович",null,null,"06.25"]
[null,null,null,null,null,null,null,null,null,{"$f":"IF(L21=\"\",\"\",\"Н. контр.\")","v":"Н. контр."},null," ",null,null,{"$f":"IF(L21=\"\",\"\",IF($O$16=\"\",\"\",$O$16))","v":"06.25"}]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,"Взам. инв. №"]
[null,null,"Подп. и дата"]
[]
[]
[]
[]
[]
[]
[null,null,"Инв.№ подл."]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"P11","v":"ТМХ-2025-Р-СОТС-00.СО"},null,null,null,"Лист"]
[]
[]
[null,null,null,null,null,null,null,null,null,"Изм.","Кол.уч.","Лист","№ док.","Подп.","Дата"]