{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Кабельный","Спецификация","Рамки"],"not_rendered":{"charts":0,"images":31,"macros":1,"external_links":0,"defined_names":29,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Кабельный","index":0,"n_rows":205,"n_cols":15,"rows_kept":205,"cut":false,"hidden":false,"merged":[[204,1,204,6],[3,1,4,1],[3,2,4,2],[0,0,0,1],[1,0,1,1],[203,1,203,4],[1,3,1,5],[3,12,4,12],[3,3,3,4],[3,5,3,6],[3,7,3,8],[0,3,0,5],[1,6,1,10],[0,6,0,10],[3,9,4,9],[3,10,3,11]]}
["Объект",null,"Название чертежа","Примечание",null,null,"Шифр"]
["Система охранного телевидения",null,"Кабельный журнал",null,null,null,"ТМХ-2025-Р-СОТ-00.КЖ"]
[]
[null,"Поз.","Обозначение \nкабеля, провода","Трасса",null,"Кабель, провод по проекту",null,"Способы прокладки",null,"Итого по проекту","Кабель, провод по факту",null,"Итого по факту"]
[null,null,null,"Начало","Конец","Марка","Кол-во и \nсеч. жил","Открыто","Скрыто",null,"Марка","Кол-во и \nсеч. жил"]
[null,{"$f":"IF(F6=\"\",\"\",SUBTOTAL(9,$O$5:$O6))","v":1},"CAM5.1","СКС розетка","CAM5.1","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,{"$f":"IF(SUM(H6:I6)=0,\"\",SUM(H6:I6))","v":1},null,null,null,null,1]
[null,{"$f":"IF(F7=\"\",\"\",SUBTOTAL(9,$O$5:$O7))","v":2},"CAM5.2","СКС розетка","CAM5.2","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F8=\"\",\"\",SUBTOTAL(9,$O$5:$O8))","v":3},"CAM5.3","СКС розетка","CAM5.3","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F9=\"\",\"\",SUBTOTAL(9,$O$5:$O9))","v":4},"CAM5.4","СКС розетка","CAM5.4","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F10=\"\",\"\",SUBTOTAL(9,$O$5:$O10))","v":5},"CAM5.5","СКС розетка","CAM5.5","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F11=\"\",\"\",SUBTOTAL(9,$O$5:$O11))","v":6},"CAM5.6","СКС розетка","CAM5.6","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F12=\"\",\"\",SUBTOTAL(9,$O$5:$O12))","v":7},"CAM5.7","СКС розетка","CAM5.7","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F13=\"\",\"\",SUBTOTAL(9,$O$5:$O13))","v":8},"CAM5.8","СКС розетка","CAM5.8","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F14=\"\",\"\",SUBTOTAL(9,$O$5:$O14))","v":9},"CAM5.9","СКС розетка","CAM5.9","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F15=\"\",\"\",SUBTOTAL(9,$O$5:$O15))","v":10},"CAM6.1","СКС розетка","CAM6.1","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F16=\"\",\"\",SUBTOTAL(9,$O$5:$O16))","v":11},"CAM6.2","СКС розетка","CAM6.2","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F17=\"\",\"\",SUBTOTAL(9,$O$5:$O17))","v":12},"CAM6.3","СКС розетка","CAM6.3","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F18=\"\",\"\",SUBTOTAL(9,$O$5:$O18))","v":13},"CAM6.4","СКС розетка","CAM6.4","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F19=\"\",\"\",SUBTOTAL(9,$O$5:$O19))","v":14},"CAM6.5","СКС розетка","CAM6.5","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F20=\"\",\"\",SUBTOTAL(9,$O$5:$O20))","v":15},"CAM6.6","СКС розетка","CAM6.6","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F21=\"\",\"\",SUBTOTAL(9,$O$5:$O21))","v":16},"CAM6.7","СКС розетка","CAM6.7","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F22=\"\",\"\",SUBTOTAL(9,$O$5:$O22))","v":17},"CAM6.8","СКС розетка","CAM6.8","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F23=\"\",\"\",SUBTOTAL(9,$O$5:$O23))","v":18},"CAM6.9","СКС розетка","CAM6.9","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F24=\"\",\"\",SUBTOTAL(9,$O$5:$O24))","v":19},"CAM6.10","СКС розетка","CAM6.10","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F25=\"\",\"\",SUBTOTAL(9,$O$5:$O25))","v":20},"CAM6.11","СКС розетка","CAM6.11","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F26=\"\",\"\",SUBTOTAL(9,$O$5:$O26))","v":21},"CAM6.12","СКС розетка","CAM6.12","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F27=\"\",\"\",SUBTOTAL(9,$O$5:$O27))","v":22},"CAM6.13","СКС розетка","CAM6.13","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F28=\"\",\"\",SUBTOTAL(9,$O$5:$O28))","v":23},"CAM6.14","СКС розетка","CAM6.14","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F29=\"\",\"\",SUBTOTAL(9,$O$5:$O29))","v":24},"CAM6.15","СКС розетка","CAM6.15","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F30=\"\",\"\",SUBTOTAL(9,$O$5:$O30))","v":25},"CAM6.16","СКС розетка","CAM6.16","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F31=\"\",\"\",SUBTOTAL(9,$O$5:$O31))","v":26},"CAM6.17","СКС розетка","CAM6.17","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F32=\"\",\"\",SUBTOTAL(9,$O$5:$O32))","v":27},"CAM7.1","СКС розетка","CAM7.1","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F33=\"\",\"\",SUBTOTAL(9,$O$5:$O33))","v":28},"CAM7.2","СКС розетка","CAM7.2","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F34=\"\",\"\",SUBTOTAL(9,$O$5:$O34))","v":29},"CAM7.3","СКС розетка","CAM7.3","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F35=\"\",\"\",SUBTOTAL(9,$O$5:$O35))","v":30},"CAM7.4","СКС розетка","CAM7.4","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F36=\"\",\"\",SUBTOTAL(9,$O$5:$O36))","v":31},"CAM7.5","СКС розетка","CAM7.5","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F37=\"\",\"\",SUBTOTAL(9,$O$5:$O37))","v":32},"CAM7.6","СКС розетка","CAM7.6","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F38=\"\",\"\",SUBTOTAL(9,$O$5:$O38))","v":33},"CAM7.7","СКС розетка","CAM7.7","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F39=\"\",\"\",SUBTOTAL(9,$O$5:$O39))","v":34},"CAM7.8","СКС розетка","CAM7.8","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F40=\"\",\"\",SUBTOTAL(9,$O$5:$O40))","v":35},"CAM7.9","СКС розетка","CAM7.9","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F41=\"\",\"\",SUBTOTAL(9,$O$5:$O41))","v":36},"CAM7.10","СКС розетка","CAM7.10","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F42=\"\",\"\",SUBTOTAL(9,$O$5:$O42))","v":37},"CAM7.11","СКС розетка","CAM7.11","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F43=\"\",\"\",SUBTOTAL(9,$O$5:$O43))","v":38},"CAM7.12","СКС розетка","CAM7.12","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F44=\"\",\"\",SUBTOTAL(9,$O$5:$O44))","v":39},"CAM7.13","СКС розетка","CAM7.13","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F45=\"\",\"\",SUBTOTAL(9,$O$5:$O45))","v":40},"CAM7.14","СКС розетка","CAM7.14","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F46=\"\",\"\",SUBTOTAL(9,$O$5:$O46))","v":41},"CAM7.15","СКС розетка","CAM7.15","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,{"$f":"IF(SUM(H46:I46)=0,\"\",SUM(H46:I46))","v":1},null,null,null,null,1]
[null,{"$f":"IF(F47=\"\",\"\",SUBTOTAL(9,$O$5:$O47))","v":42},"CAM8.1","СКС розетка","CAM8.1","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F48=\"\",\"\",SUBTOTAL(9,$O$5:$O48))","v":43},"CAM8.2","СКС розетка","CAM8.2","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F49=\"\",\"\",SUBTOTAL(9,$O$5:$O49))","v":44},"CAM8.3","СКС розетка","CAM8.3","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F50=\"\",\"\",SUBTOTAL(9,$O$5:$O50))","v":45},"CAM8.4","СКС розетка","CAM8.4","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F51=\"\",\"\",SUBTOTAL(9,$O$5:$O51))","v":46},"CAM8.5","СКС розетка","CAM8.5","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F52=\"\",\"\",SUBTOTAL(9,$O$5:$O52))","v":47},"CAM8.6","СКС розетка","CAM8.6","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F53=\"\",\"\",SUBTOTAL(9,$O$5:$O53))","v":48},"CAM8.7","СКС розетка","CAM8.7","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F54=\"\",\"\",SUBTOTAL(9,$O$5:$O54))","v":49},"CAM8.8","СКС розетка","CAM8.8","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F55=\"\",\"\",SUBTOTAL(9,$O$5:$O55))","v":50},"CAM8.9","СКС розетка","CAM8.9","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F56=\"\",\"\",SUBTOTAL(9,$O$5:$O56))","v":51},"CAM8.10","СКС розетка","CAM8.10","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F57=\"\",\"\",SUBTOTAL(9,$O$5:$O57))","v":52},"CAM9.1","СКС розетка","CAM9.1","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F58=\"\",\"\",SUBTOTAL(9,$O$5:$O58))","v":53},"CAM9.2","СКС розетка","CAM9.2","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F59=\"\",\"\",SUBTOTAL(9,$O$5:$O59))","v":54},"CAM9.3","СКС розетка","CAM9.3","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F60=\"\",\"\",SUBTOTAL(9,$O$5:$O60))","v":55},"CAM9.4","СКС розетка","CAM9.4","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F61=\"\",\"\",SUBTOTAL(9,$O$5:$O61))","v":56},"CAM9.5","СКС розетка","CAM9.5","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F62=\"\",\"\",SUBTOTAL(9,$O$5:$O62))","v":57},"CAM9.6","СКС розетка","CAM9.6","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F63=\"\",\"\",SUBTOTAL(9,$O$5:$O63))","v":58},"CAM9.7","СКС розетка","CAM9.7","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F64=\"\",\"\",SUBTOTAL(9,$O$5:$O64))","v":59},"CAM9.8","СКС розетка","CAM9.8","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F65=\"\",\"\",SUBTOTAL(9,$O$5:$O65))","v":60},"CAM9.9","СКС розетка","CAM9.9","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F66=\"\",\"\",SUBTOTAL(9,$O$5:$O66))","v":61},"CAM9.10","СКС розетка","CAM9.10","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F67=\"\",\"\",SUBTOTAL(9,$O$5:$O67))","v":62},"CAM10.1","СКС розетка","CAM10.1","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F68=\"\",\"\",SUBTOTAL(9,$O$5:$O68))","v":63},"CAM10.2","СКС розетка","CAM10.2","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F69=\"\",\"\",SUBTOTAL(9,$O$5:$O69))","v":64},"CAM10.3","СКС розетка","CAM10.3","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F70=\"\",\"\",SUBTOTAL(9,$O$5:$O70))","v":65},"CAM10.4","СКС розетка","CAM10.4","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F71=\"\",\"\",SUBTOTAL(9,$O$5:$O71))","v":66},"CAM10.5","СКС розетка","CAM10.5","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F72=\"\",\"\",SUBTOTAL(9,$O$5:$O72))","v":67},"CAM10.6","СКС розетка","CAM10.6","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F73=\"\",\"\",SUBTOTAL(9,$O$5:$O73))","v":68},"CAM10.7","СКС розетка","CAM10.7","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F74=\"\",\"\",SUBTOTAL(9,$O$5:$O74))","v":69},"CAM10.8","СКС розетка","CAM10.8","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F75=\"\",\"\",SUBTOTAL(9,$O$5:$O75))","v":70},"CAM10.9","СКС розетка","CAM10.9","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F76=\"\",\"\",SUBTOTAL(9,$O$5:$O76))","v":71},"CAM10.10","СКС розетка","CAM10.10","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F77=\"\",\"\",SUBTOTAL(9,$O$5:$O77))","v":72},"CAM10.11","СКС розетка","CAM10.11","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F78=\"\",\"\",SUBTOTAL(9,$O$5:$O78))","v":73},"CAM12.1","СКС розетка","CAM12.1","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F79=\"\",\"\",SUBTOTAL(9,$O$5:$O79))","v":74},"CAM12.2","СКС розетка","CAM12.2","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F80=\"\",\"\",SUBTOTAL(9,$O$5:$O80))","v":75},"CAM12.3","СКС розетка","CAM12.3","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F81=\"\",\"\",SUBTOTAL(9,$O$5:$O81))","v":76},"CAM12.4","СКС розетка","CAM12.4","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F82=\"\",\"\",SUBTOTAL(9,$O$5:$O82))","v":77},"CAM12.5","СКС розетка","CAM12.5","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F83=\"\",\"\",SUBTOTAL(9,$O$5:$O83))","v":78},"CAM12.6","СКС розетка","CAM12.6","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F84=\"\",\"\",SUBTOTAL(9,$O$5:$O84))","v":79},"CAM12.7","СКС розетка","CAM12.7","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F85=\"\",\"\",SUBTOTAL(9,$O$5:$O85))","v":80},"CAM12.8","СКС розетка","CAM12.8","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F86=\"\",\"\",SUBTOTAL(9,$O$5:$O86))","v":81},"CAM12.9","СКС розетка","CAM12.9","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F87=\"\",\"\",SUBTOTAL(9,$O$5:$O87))","v":82},"CAM12.10","СКС розетка","CAM12.10","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F88=\"\",\"\",SUBTOTAL(9,$O$5:$O88))","v":83},"CAM12.11","СКС розетка","CAM12.11","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F89=\"\",\"\",SUBTOTAL(9,$O$5:$O89))","v":84},"CAM12.12","СКС розетка","CAM12.12","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F90=\"\",\"\",SUBTOTAL(9,$O$5:$O90))","v":85},"CAM12.13","СКС розетка","CAM12.13","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F91=\"\",\"\",SUBTOTAL(9,$O$5:$O91))","v":86},"CAM13.1","СКС розетка","CAM13.1","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F92=\"\",\"\",SUBTOTAL(9,$O$5:$O92))","v":87},"CAM13.2","СКС розетка","CAM13.2","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F93=\"\",\"\",SUBTOTAL(9,$O$5:$O93))","v":88},"CAM13.3","СКС розетка","CAM13.3","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F94=\"\",\"\",SUBTOTAL(9,$O$5:$O94))","v":89},"CAM13.4","СКС розетка","CAM13.4","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F95=\"\",\"\",SUBTOTAL(9,$O$5:$O95))","v":90},"CAM13.5","СКС розетка","CAM13.5","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F96=\"\",\"\",SUBTOTAL(9,$O$5:$O96))","v":91},"CAM13.6","СКС розетка","CAM13.6","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F97=\"\",\"\",SUBTOTAL(9,$O$5:$O97))","v":92},"CAM13.7","СКС розетка","CAM13.7","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F98=\"\",\"\",SUBTOTAL(9,$O$5:$O98))","v":93},"CAM13.8","СКС розетка","CAM13.8","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F99=\"\",\"\",SUBTOTAL(9,$O$5:$O99))","v":94},"CAM13.9","СКС розетка","CAM13.9","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F100=\"\",\"\",SUBTOTAL(9,$O$5:$O100))","v":95},"CAM13.10","СКС розетка","CAM13.10","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F101=\"\",\"\",SUBTOTAL(9,$O$5:$O101))","v":96},"CAM13.11","СКС розетка","CAM13.11","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F102=\"\",\"\",SUBTOTAL(9,$O$5:$O102))","v":97},"CAM13.12","СКС розетка","CAM13.12","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F103=\"\",\"\",SUBTOTAL(9,$O$5:$O103))","v":98},"CAM13.13","СКС розетка","CAM13.13","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F104=\"\",\"\",SUBTOTAL(9,$O$5:$O104))","v":99},"CAM13.14","СКС розетка","CAM13.14","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F105=\"\",\"\",SUBTOTAL(9,$O$5:$O105))","v":100},"CAM14.1","СКС розетка","CAM14.1","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F106=\"\",\"\",SUBTOTAL(9,$O$5:$O106))","v":101},"CAM14.2","СКС розетка","CAM14.2","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F107=\"\",\"\",SUBTOTAL(9,$O$5:$O107))","v":102},"CAM14.3","СКС розетка","CAM14.3","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F108=\"\",\"\",SUBTOTAL(9,$O$5:$O108))","v":103},"CAM14.4","СКС розетка","CAM14.4","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F109=\"\",\"\",SUBTOTAL(9,$O$5:$O109))","v":104},"CAM14.5","СКС розетка","CAM14.5","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F110=\"\",\"\",SUBTOTAL(9,$O$5:$O110))","v":105},"CAM14.6","СКС розетка","CAM14.6","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F111=\"\",\"\",SUBTOTAL(9,$O$5:$O111))","v":106},"CAM14.7","СКС розетка","CAM14.7","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F112=\"\",\"\",SUBTOTAL(9,$O$5:$O112))","v":107},"CAM14.8","СКС розетка","CAM14.8","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F113=\"\",\"\",SUBTOTAL(9,$O$5:$O113))","v":108},"CAM14.9","СКС розетка","CAM14.9","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F114=\"\",\"\",SUBTOTAL(9,$O$5:$O114))","v":109},"CAM14.10","СКС розетка","CAM14.10","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F115=\"\",\"\",SUBTOTAL(9,$O$5:$O115))","v":110},"CAM14.11","СКС розетка","CAM14.11","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F116=\"\",\"\",SUBTOTAL(9,$O$5:$O116))","v":111},"CAM14.12","СКС розетка","CAM14.12","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F117=\"\",\"\",SUBTOTAL(9,$O$5:$O117))","v":112},"CAM14.13","СКС розетка","CAM14.13","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F118=\"\",\"\",SUBTOTAL(9,$O$5:$O118))","v":113},"CAM14.14","СКС розетка","CAM14.14","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F119=\"\",\"\",SUBTOTAL(9,$O$5:$O119))","v":114},"CAM14.15","СКС розетка","CAM14.15","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F120=\"\",\"\",SUBTOTAL(9,$O$5:$O120))","v":115},"CAM14.16","СКС розетка","CAM14.16","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F121=\"\",\"\",SUBTOTAL(9,$O$5:$O121))","v":116},"CAM14.17","СКС розетка","CAM14.17","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F122=\"\",\"\",SUBTOTAL(9,$O$5:$O122))","v":117},"CAM15.1","СКС розетка","CAM15.1","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F123=\"\",\"\",SUBTOTAL(9,$O$5:$O123))","v":118},"CAM15.2","СКС розетка","CAM15.2","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F124=\"\",\"\",SUBTOTAL(9,$O$5:$O124))","v":119},"CAM15.3","СКС розетка","CAM15.3","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F125=\"\",\"\",SUBTOTAL(9,$O$5:$O125))","v":120},"CAM15.4","СКС розетка","CAM15.4","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F126=\"\",\"\",SUBTOTAL(9,$O$5:$O126))","v":121},"CAM15.5","СКС розетка","CAM15.5","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F127=\"\",\"\",SUBTOTAL(9,$O$5:$O127))","v":122},"CAM15.6","СКС розетка","CAM15.6","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F128=\"\",\"\",SUBTOTAL(9,$O$5:$O128))","v":123},"CAM15.7","СКС розетка","CAM15.7","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F129=\"\",\"\",SUBTOTAL(9,$O$5:$O129))","v":124},"CAM15.8","СКС розетка","CAM15.8","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F130=\"\",\"\",SUBTOTAL(9,$O$5:$O130))","v":125},"CAM15.9","СКС розетка","CAM15.9","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F131=\"\",\"\",SUBTOTAL(9,$O$5:$O131))","v":126},"CAM15.10","СКС розетка","CAM15.10","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F132=\"\",\"\",SUBTOTAL(9,$O$5:$O132))","v":127},"CAM15.11","СКС розетка","CAM15.11","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F133=\"\",\"\",SUBTOTAL(9,$O$5:$O133))","v":128},"CAM15.12","СКС розетка","CAM15.12","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F134=\"\",\"\",SUBTOTAL(9,$O$5:$O134))","v":129},"CAM16.1","СКС розетка","CAM16.1","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F135=\"\",\"\",SUBTOTAL(9,$O$5:$O135))","v":130},"CAM16.2","СКС розетка","CAM16.2","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F136=\"\",\"\",SUBTOTAL(9,$O$5:$O136))","v":131},"CAM16.3","СКС розетка","CAM16.3","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F137=\"\",\"\",SUBTOTAL(9,$O$5:$O137))","v":132},"CAM16.4","СКС розетка","CAM16.4","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F138=\"\",\"\",SUBTOTAL(9,$O$5:$O138))","v":133},"CAM16.5","СКС розетка","CAM16.5","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F139=\"\",\"\",SUBTOTAL(9,$O$5:$O139))","v":134},"CAM16.6","СКС розетка","CAM16.6","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F140=\"\",\"\",SUBTOTAL(9,$O$5:$O140))","v":135},"CAM16.7","СКС розетка","CAM16.7","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F141=\"\",\"\",SUBTOTAL(9,$O$5:$O141))","v":136},"CAM16.8","СКС розетка","CAM16.8","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F142=\"\",\"\",SUBTOTAL(9,$O$5:$O142))","v":137},"CAM16.9","СКС розетка","CAM16.9","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F143=\"\",\"\",SUBTOTAL(9,$O$5:$O143))","v":138},"CAM16.10","СКС розетка","CAM16.10","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F144=\"\",\"\",SUBTOTAL(9,$O$5:$O144))","v":139},"CAM16.11","СКС розетка","CAM16.11","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F145=\"\",\"\",SUBTOTAL(9,$O$5:$O145))","v":140},"CAM16.12","СКС розетка","CAM16.12","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F146=\"\",\"\",SUBTOTAL(9,$O$5:$O146))","v":141},"CAM16.13","СКС розетка","CAM16.13","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F147=\"\",\"\",SUBTOTAL(9,$O$5:$O147))","v":142},"CAM17.1","СКС розетка","CAM17.1","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F148=\"\",\"\",SUBTOTAL(9,$O$5:$O148))","v":143},"CAM17.2","СКС розетка","CAM17.2","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F149=\"\",\"\",SUBTOTAL(9,$O$5:$O149))","v":144},"CAM17.3","СКС розетка","CAM17.3","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F150=\"\",\"\",SUBTOTAL(9,$O$5:$O150))","v":145},"CAM17.4","СКС розетка","CAM17.4","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F151=\"\",\"\",SUBTOTAL(9,$O$5:$O151))","v":146},"CAM17.5","СКС розетка","CAM17.5","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F152=\"\",\"\",SUBTOTAL(9,$O$5:$O152))","v":147},"CAM17.6","СКС розетка","CAM17.6","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F153=\"\",\"\",SUBTOTAL(9,$O$5:$O153))","v":148},"CAM17.7","СКС розетка","CAM17.7","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F154=\"\",\"\",SUBTOTAL(9,$O$5:$O154))","v":149},"CAM17.8","СКС розетка","CAM17.8","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F155=\"\",\"\",SUBTOTAL(9,$O$5:$O155))","v":150},"CAM17.9","СКС розетка","CAM17.9","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F156=\"\",\"\",SUBTOTAL(9,$O$5:$O156))","v":151},"CAM18.1","СКС розетка","CAM18.1","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F157=\"\",\"\",SUBTOTAL(9,$O$5:$O157))","v":152},"CAM18.2","СКС розетка","CAM18.2","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F158=\"\",\"\",SUBTOTAL(9,$O$5:$O158))","v":153},"CAM18.3","СКС розетка","CAM18.3","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F159=\"\",\"\",SUBTOTAL(9,$O$5:$O159))","v":154},"CAM18.4","СКС розетка","CAM18.4","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F160=\"\",\"\",SUBTOTAL(9,$O$5:$O160))","v":155},"CAM18.5","СКС розетка","CAM18.5","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F161=\"\",\"\",SUBTOTAL(9,$O$5:$O161))","v":156},"CAM18.6","СКС розетка","CAM18.6","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F162=\"\",\"\",SUBTOTAL(9,$O$5:$O162))","v":157},"CAM18.7","СКС розетка","CAM18.7","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F163=\"\",\"\",SUBTOTAL(9,$O$5:$O163))","v":158},"CAM18.8","СКС розетка","CAM18.8","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F164=\"\",\"\",SUBTOTAL(9,$O$5:$O164))","v":159},"CAM18.9","СКС розетка","CAM18.9","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F165=\"\",\"\",SUBTOTAL(9,$O$5:$O165))","v":160},"CAM18.10","СКС розетка","CAM18.10","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F166=\"\",\"\",SUBTOTAL(9,$O$5:$O166))","v":161},"CAM19.1","СКС розетка","CAM19.1","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F167=\"\",\"\",SUBTOTAL(9,$O$5:$O167))","v":162},"CAM19.2","СКС розетка","CAM19.2","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F168=\"\",\"\",SUBTOTAL(9,$O$5:$O168))","v":163},"CAM19.3","СКС розетка","CAM19.3","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F169=\"\",\"\",SUBTOTAL(9,$O$5:$O169))","v":164},"CAM19.4","СКС розетка","CAM19.4","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F170=\"\",\"\",SUBTOTAL(9,$O$5:$O170))","v":165},"CAM19.5","СКС розетка","CAM19.5","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F171=\"\",\"\",SUBTOTAL(9,$O$5:$O171))","v":166},"CAM19.6","СКС розетка","CAM19.6","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F172=\"\",\"\",SUBTOTAL(9,$O$5:$O172))","v":167},"CAM19.7","СКС розетка","CAM19.7","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F173=\"\",\"\",SUBTOTAL(9,$O$5:$O173))","v":168},"CAM19.8","СКС розетка","CAM19.8","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F174=\"\",\"\",SUBTOTAL(9,$O$5:$O174))","v":169},"CAM19.9","СКС розетка","CAM19.9","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F175=\"\",\"\",SUBTOTAL(9,$O$5:$O175))","v":170},"CAM19.10","СКС розетка","CAM19.10","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F176=\"\",\"\",SUBTOTAL(9,$O$5:$O176))","v":171},"CAM19.11","СКС розетка","CAM19.11","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F177=\"\",\"\",SUBTOTAL(9,$O$5:$O177))","v":172},"CAM20.1","СКС розетка","CAM20.1","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F178=\"\",\"\",SUBTOTAL(9,$O$5:$O178))","v":173},"CAM20.2","СКС розетка","CAM20.2","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F179=\"\",\"\",SUBTOTAL(9,$O$5:$O179))","v":174},"CAM20.3","СКС розетка","CAM20.3","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F180=\"\",\"\",SUBTOTAL(9,$O$5:$O180))","v":175},"CAM20.4","СКС розетка","CAM20.4","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F181=\"\",\"\",SUBTOTAL(9,$O$5:$O181))","v":176},"CAM20.5","СКС розетка","CAM20.5","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F182=\"\",\"\",SUBTOTAL(9,$O$5:$O182))","v":177},"CAM20.6","СКС розетка","CAM20.6","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F183=\"\",\"\",SUBTOTAL(9,$O$5:$O183))","v":178},"CAM20.7","СКС розетка","CAM20.7","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F184=\"\",\"\",SUBTOTAL(9,$O$5:$O184))","v":179},"CAM20.8","СКС розетка","CAM20.8","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F185=\"\",\"\",SUBTOTAL(9,$O$5:$O185))","v":180},"CAM20.9","СКС розетка","CAM20.9","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F186=\"\",\"\",SUBTOTAL(9,$O$5:$O186))","v":181},"CAM21.1","СКС розетка","CAM21.1","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F187=\"\",\"\",SUBTOTAL(9,$O$5:$O187))","v":182},"CAM21.2","СКС розетка","CAM21.2","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F188=\"\",\"\",SUBTOTAL(9,$O$5:$O188))","v":183},"CAM21.3","СКС розетка","CAM21.3","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F189=\"\",\"\",SUBTOTAL(9,$O$5:$O189))","v":184},"CAM21.4","СКС розетка","CAM21.4","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F190=\"\",\"\",SUBTOTAL(9,$O$5:$O190))","v":185},"CAM21.5","СКС розетка","CAM21.5","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F191=\"\",\"\",SUBTOTAL(9,$O$5:$O191))","v":186},"CAM21.6","СКС розетка","CAM21.6","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F192=\"\",\"\",SUBTOTAL(9,$O$5:$O192))","v":187},"CAM21.7","СКС розетка","CAM21.7","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F193=\"\",\"\",SUBTOTAL(9,$O$5:$O193))","v":188},"CAM21.8","СКС розетка","CAM21.8","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F194=\"\",\"\",SUBTOTAL(9,$O$5:$O194))","v":189},"CAM22.1","СКС розетка","CAM22.1","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F195=\"\",\"\",SUBTOTAL(9,$O$5:$O195))","v":190},"CAM22.2","СКС розетка","CAM22.2","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F196=\"\",\"\",SUBTOTAL(9,$O$5:$O196))","v":191},"CAM22.3","СКС розетка","CAM22.3","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F197=\"\",\"\",SUBTOTAL(9,$O$5:$O197))","v":192},"CAM22.4","СКС розетка","CAM22.4","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F198=\"\",\"\",SUBTOTAL(9,$O$5:$O198))","v":193},"CAM23.1","СКС розетка","CAM23.1","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F199=\"\",\"\",SUBTOTAL(9,$O$5:$O199))","v":194},"CAM23.2","СКС розетка","CAM23.2","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F200=\"\",\"\",SUBTOTAL(9,$O$5:$O200))","v":195},"CAM23.3","СКС розетка","CAM23.3","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F201=\"\",\"\",SUBTOTAL(9,$O$5:$O201))","v":196},"CAM23.4","СКС розетка","CAM23.4","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F202=\"\",\"\",SUBTOTAL(9,$O$5:$O202))","v":197},"CAM23.5","СКС розетка","CAM23.5","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,{"$f":"IF(F203=\"\",\"\",SUBTOTAL(9,$O$5:$O203))","v":198},"CAM23.6","СКС розетка","CAM23.6","NMC-PC4UD55B-010-CGY","4х2х0.51",1,null,1,null,null,null,null,1]
[null,"Итого по кабелю:",null,null,null,"NMC-PC4UD55B-010-CGY","4х2х0.51",{"$f":"SUM(H6:H203)","v":198},null,{"$f":"SUM(J6:J203)","v":198}]
[null,"Итого:",null,null,null,null,null,{"$f":"SUM(H204:H204)","v":198},null,{"$f":"SUM(H205:I205)","v":198}]

{"sheet":"Спецификация","index":1,"n_rows":24,"n_cols":15,"rows_kept":24,"cut":false,"hidden":false,"merged":[[1,3,1,5],[1,6,1,8],[0,3,0,5],[0,6,0,8],[0,0,0,1],[1,0,1,1]]}
["Объект",null,"Название чертежа","Примечание",null,null,"Шифр"]
["Система охранного телевидения",null,"Спецификация оборудования, изделий и материалов.",null,null,null,"ТМХ-2025-Р-СОТ-00.СО"]
[]
[null,"Поз.","Наименование и техническая характеристика","Тип, марка, \nобозначение \nдокумента, \nопросного листа","Код оборудования, изделия, материала","Завод-изготовитель","Ед. измерения","Кол.","Масса \n1 ед., \nкг","Примечание",null,null,null,"rev.2","rev.1"]
[null,null,"Основное оборудование",null,null,null,null,null,null,null,null,{"$f":"IF(H5=\"\",\"\",1)","v":""}]
[null,{"$f":"IF(G6=\"\",\"\",SUBTOTAL(9,$L$5:$L6))","v":1},"IP видеокамера купольная, PoE","DS-2CD2543G2-IWS",null,"HIKVISION","шт.",198," -",null,null,{"$f":"IF(G6=\"\",\"\",1)","v":1},null,{"$f":"H6","v":198},4]
[null,{"$f":"IF(G7=\"\",\"\",SUBTOTAL(9,$L$5:$L7))","v":2},"Монтажная коробка для купольной видеокамеры","DS-1280ZJ-DM46",null,"HIKVISION","шт.",{"$f":"3+4+4+3+3+5+4+3+2+1+4+4+3+10+15+4+4+1","v":77}," -",null,null,{"$f":"IF(G7=\"\",\"\",1)","v":1},null,{"$f":"H7","v":77},10]
[null,{"$f":"IF(G8=\"\",\"\",SUBTOTAL(9,$L$5:$L8))","v":3},"Жёсткий диск 10 ТБ","WD101PURP",null,"Western Digital","шт.",32,"-",null,null,1,null,32]
[null,{"$f":"IF(G9=\"\",\"\",SUBTOTAL(9,$L$5:$L9))","v":4},"Видеорегистратор","DS-8664NI-I8",null,"HIKVISION","шт.",4," -",null,null,{"$f":"IF(G9=\"\",\"\",1)","v":1},null,4,0]
[null,{"$f":"IF(G10=\"\",\"\",SUBTOTAL(9,$L$5:$L10))","v":5},"Коммутатор 24 порта 1G с PoE, 4 порта 10G","MES2424P",null,"ELTEX","шт.",32," -",null,null,1,null,32]
[null,{"$f":"IF(G11=\"\",\"\",SUBTOTAL(9,$L$5:$L11))","v":6},"SFP+ 10GE модуль 3 км, SM, 1 волокно, комплект TX/RX 1330/1270 LC, DDM ","FH-SPB911TCDL3/FH-SPB191TCDL3",null,"ELTEX","шт.",64," -",null,null,1,null,64]
[null,{"$f":"IF(G12=\"\",\"\",SUBTOTAL(9,$L$5:$L12))","v":7},"Видеорегистратор","DS-8664NI-I8",null,"HIKVISION","шт.",4," -",null,null,{"$f":"IF(G12=\"\",\"\",1)","v":1},null,{"$f":"H12","v":4},0]
[null,{"$f":"IF(G13=\"\",\"\",SUBTOTAL(9,$L$5:$L13))","v":8},"Кронштейн настенный для видеокамер","DS-1272ZJ-120",null,"HIKVISION","шт.",{"$f":"H6-H7","v":121}," -",null,null,{"$f":"IF(G13=\"\",\"\",1)","v":1},null,121,4]
[null,null,"Кабельная продукция и монтажные материалы",null,null,null,null,null,null,null,null,"",null,0,6]
[null,{"$f":"IF(G15=\"\",\"\",SUBTOTAL(9,$L$5:$L15))","v":9},"Шнур коммутационный","NMC-PC4UD55B-010-CGY",null,"Nikomax","шт.",{"$f":"Кабельный!H204","v":198}," -",null,null,{"$f":"IF(G15=\"\",\"\",1)","v":1},null,{"$f":"H15","v":198},6]
[null,{"$f":"IF(G16=\"\",\"\",SUBTOTAL(9,$L$5:$L16))","v":10},"Переходной шнур, двойной, SM 9/125, OS2, SC/UPC-LC/UPC, LSZH ","NMF-PC2S2C2-SCU-LCU-001 ",null,"Nikomax","шт.",32," -",null,null,1,null,32,6]
[null,null,null,null,null,null,null,null,null,null,null,"",null,0,27]
[null,null,null,null,null,null,null,null,null,null,null,"",null,0,7]
[null,null,null,null,null,null,null,null,null,null,null,"",null,0,3]
[null,null,null,null,null,null,null,null,null,null,null,"",null,0,1]
[null,null,null,null,null,null,null,null,null,null,null,"",null,0,1]
[null,null,null,null,null,null,null,null,null,null,null,"",null,0,1]
[null,null,null,null,null,null,null,null,null,null,null,"",null,0,4]
[null,null,null,null,null,null,null,null,null,null,null,"",null,0,6]

{"sheet":"Рамки","index":2,"n_rows":45,"n_cols":22,"rows_kept":45,"cut":false,"hidden":false,"merged":[[9,2,15,3],[9,4,15,5],[16,2,20,3],[16,4,20,5],[18,16,20,19],[10,15,11,19],[12,15,14,19],[15,9,15,10],[15,11,15,12],[15,15,17,15],[15,18,15,19],[16,18,17,19],[16,9,16,10],[16,11,16,12],[17,9,17,10],[17,11,17,12],[4,1,7,2],[4,3,4,4],[5,3,5,4],[8,2,8,3],[8,4,8,5],[6,3,6,4],[7,3,7,4],[16,16,17,16],[16,17,17,17],[18,15,20,15],[19,9,19,10],[19,11,19,12],[20,9,20,10],[20,11,20,12],[18,9,18,10],[18,11,18,12],[27,1,30,2],[27,3,27,4],[28,3,28,4],[29,3,29,4],[30,3,30,4],[10,6,20,7],[41,19,42,19],[43,19,44,19],[31,2,31,3],[31,4,31,5],[32,2,38,3],[32,4,38,5],[39,2,44,3],[39,4,44,5],[41,15,44,18],[42,9,43,9],[42,10,43,10],[42,11,43,11],[42,12,43,12],[42,13,43,13],[42,14,43,14]]}
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"<-Если нужна верхняя нумеряция, то введите сюда номер первой страници"]
[]
[]
[null,"Согласовано:"]
[]
[]
[]
[null,null,"Взам. инв. №"]
[null,null,"Подп. и дата"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"ТМХ-2025-Р-СОТ-00.СО"]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Бизнес-центр ТМХ на территории ОЭЗ \"Технополис \"Москва\"\""]
[]
[null,null,null,null,null,null,null,null,null,"Изм.","Кол.уч.","Лист","№ док.","Подп.","Дата"]
[null,null,null,null,null,null,null,null,null,{"$f":"IF(L16=\"\",\"\",\"Разраб.\")","v":"Разраб."},null,"Поварницин",null,null,"06.25","Система охранного телевидения","Стадия","Лист","Листов"]
[null,null,"Инв. № подл.",null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(L17=\"\",\"\",IF($O$16=\"\",\"\",$O$16))","v":""},null,"Р",{"$f":"IF(Листов>1,\"1\",\"\")","v":""},1]
[null,null,null,null,null,null,null,null,null,{"$f":"IF(L18=\"\",\"\",\"Утв.\")","v":""},null,null,null,null,""]
[null,null,null,null,null,null,null,null,null,"ГИП",null,"Николич",null,null,"06.25","Спецификация оборудования, изделий и материалов."]
[null,null,null,null,null,null,null,null,null,"ГАП",null,"Радойкович",null,null,"06.25"]
[null,null,null,null,null,null,null,null,null,{"$f":"IF(L21=\"\",\"\",\"Н. контр.\")","v":"Н. контр."},null," ",null,null,"06.25"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,"Взам. инв. №"]
[null,null,"Подп. и дата"]
[]
[]
[]
[]
[]
[]
[null,null,"Инв.№ подл."]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"P11","v":"ТМХ-2025-Р-СОТ-00.СО"},null,null,null,"Лист"]
[]
[]
[null,null,null,null,null,null,null,null,null,"Изм.","Кол.уч.","Лист","№ док.","Подп.","Дата"]